## Sheet1
Trend Column | Sensor Code | Display Name | Measurement Property | Category | Priority | Selected
SaitSolarLab_20000_TL92 | 20000_TL92 | HWS_Outside_Temp_POLL | 6 | Temperature | P1 | yes
SaitSolarLab_20000_TL93 | 20000_TL93 | Rain_Water_Level_POLL | 46
SaitSolarLab_20003_TL2 | 20003_TL2 | Temperature | 6 | Temperature | P1
SaitSolarLab_20004_TL2 | 20004_TL2 | Temperature | 6 | Temperature | P1
SaitSolarLab_20005_TL2 | 20005_TL2 | Temperature | 6 | Temperature | P1
SaitSolarLab_20006_TL2 | 20006_TL2 | Temperature | 6 | Temperature | P1
SaitSolarLab_20007_TL2 | 20007_TL2 | Temperature | 6 | Temperature | P1
SaitSolarLab_20008_TL2 | 20008_TL2 | Temperature | 6 | Temperature | P1
SaitSolarLab_20009_TL2 | 20009_TL2 | Temperature | 6 | Temperature | P1
SaitSolarLab_20010_TL2 | 20010_TL2 | Temperature | 6 | Temperature | P1
SaitSolarLab_20011_TL2 | 20011_TL2 | Temperature | 6 | Temperature | P1
SaitSolarLab_20012_TL2 | 20012_TL2 | Temperature | 6 | Temperature | P1
SaitSolarLab_20013_TL2 | 20013_TL2 | Temperature | 6 | Temperature | P1
SaitSolarLab_20014_TL2 | 20014_TL2 | Temperature | 6 | Temperature | P1
SaitSolarLab_20015_TL2 | 20015_TL2 | Temperature | 6 | Temperature | P1
SaitSolarLab_20016_TL2 | 20016_TL2 | Temperature | 6 | Temperature | P1
SaitSolarLab_20016_TL5 | 20016_TL5 | CO2_Sensor | 44 | Air Quality | P2 | yes
SaitSolarLab_30000_TL10 | 30000_TL10 | S0FTH292-TL | 6
SaitSolarLab_30000_TL108 | 30000_TL108 | S0FS289 | 6
SaitSolarLab_30000_TL11 | 30000_TL11 | S0FTH290-TL | 6
SaitSolarLab_30000_TL12 | 30000_TL12 | S2SWV105-TL | 6
SaitSolarLab_30000_TL13 | 30000_TL13 | S2SWV104-TL | 6
SaitSolarLab_30000_TL14 | 30000_TL14 | S2SWV104-TL | 6
SaitSolarLab_30000_TL15 | 30000_TL15 | S2SWV103-TL | 6
SaitSolarLab_30000_TL16 | 30000_TL16 | S2SWV102-TL | 6
SaitSolarLab_30000_TL17 | 30000_TL17 | S2SWV101-TL | 6
SaitSolarLab_30000_TL18 | 30000_TL18 | S2SWV100-TL | 6
SaitSolarLab_30000_TL19 | 30000_TL19 | S2SWV099-TL | 6
SaitSolarLab_30000_TL2 | 30000_TL2 | S2SWV098-TL | 59
SaitSolarLab_30000_TL20 | 30000_TL20 | S2SWV097-TL | 6
SaitSolarLab_30000_TL207 | 30000_TL207 | AVG_CisternTemp-CCM | 6 | Temperature | P2 | yes
SaitSolarLab_30000_TL208 | 30000_TL208 | GBT Space heating/cooling consumption-TL | 55 | HVAC Energy | P1 | yes
SaitSolarLab_30000_TL209 | 30000_TL209 | GBT Lighting consumption-TL | 55 | Lighting | P1 | yes
SaitSolarLab_30000_TL21 | 30000_TL21 | S2SWV096-TL | 6
SaitSolarLab_30000_TL210 | 30000_TL210 | GBT Domestic Hot Water consumption | 55 | DHW | P1 | yes
SaitSolarLab_30000_TL211 | 30000_TL211 | GBT Equipment/ R&D consumption | 55 | equipment | P1 | yes
SaitSolarLab_30000_TL212 | 30000_TL212 | GBT Appliances consumption | 55 | Appliances | P1 | yes
SaitSolarLab_30000_TL213 | 30000_TL213 | Panel2A-1_TotalUsage | 59 |  | P2 | yes
SaitSolarLab_30000_TL22 | 30000_TL22 | S3SRV095-TL | 6
SaitSolarLab_30000_TL23 | 30000_TL23 | S3SRV094-TL | 6
SaitSolarLab_30000_TL24 | 30000_TL24 | S3SRV093-TL | 6
SaitSolarLab_30000_TL25 | 30000_TL25 | S3SRV091-TL | 6
SaitSolarLab_30000_TL252 | 30000_TL252 | PV-CarportSolar_Total | 59 |  | P1 | yes
SaitSolarLab_30000_TL253 | 30000_TL253 | PV-RooftopSolar_Total | 59 |  | P1 | yes
SaitSolarLab_30000_TL26 | 30000_TL26 | S3SRV089-TL | 6
SaitSolarLab_30000_TL27 | 30000_TL27 | S3SRV088-TL | 6
SaitSolarLab_30000_TL28 | 30000_TL28 | S3ERTH082-TL | 6
SaitSolarLab_30000_TL29 | 30000_TL29 | S1ETH063 - Humidity-TL | 46
SaitSolarLab_30000_TL3 | 30000_TL3 | GBT Total Generation | 55 |  | P1 | yes
SaitSolarLab_30000_TL30 | 30000_TL30 | N1ETH058A - Humidity-TL | 55
SaitSolarLab_30000_TL31 | 30000_TL31 | S1ETH065-TL | 6
SaitSolarLab_30000_TL32 | 30000_TL32 | S1ETH064-TL | 6
SaitSolarLab_30000_TL33 | 30000_TL33 | S1ETH063A-TL | 46
SaitSolarLab_30000_TL335 | 30000_TL335 | GBT Net Energy | 59 |  | P1 | yes
SaitSolarLab_30000_TL336 | 30000_TL336 | GBT Generation Wh | 60
SaitSolarLab_30000_TL337 | 30000_TL337 | GBT Consumption Wh | 60
SaitSolarLab_30000_TL338 | 30000_TL338 | GBT Net Energy Wh | 60
SaitSolarLab_30000_TL339 | 30000_TL339 | GBT Net Energy Hourly Wh | 60
SaitSolarLab_30000_TL34 | 30000_TL34 | S1ETH063B-TL | 6
SaitSolarLab_30000_TL340 | 30000_TL340 | GBT Generation Hourly Wh | 60
SaitSolarLab_30000_TL341 | 30000_TL341 | GBT Consumption Hourly Wh | 60
SaitSolarLab_30000_TL342 | 30000_TL342 | GBT Site Consumption | 59 |  | P1 | yes
SaitSolarLab_30000_TL343 | 30000_TL343 | GBT Mains PA | 59 |  | P2 | yes
SaitSolarLab_30000_TL344 | 30000_TL344 | GBT Mains PB | 59 |  | P2 | yes
SaitSolarLab_30000_TL345 | 30000_TL345 | GBT Mains PC | 59 |  | P2 | yes
SaitSolarLab_30000_TL35 | 30000_TL35 | S1ETH062A-TL | 46
SaitSolarLab_30000_TL36 | 30000_TL36 | S1ETH062B-TL | 6
SaitSolarLab_30000_TL37 | 30000_TL37 | S1ETH061-TL | 6
SaitSolarLab_30000_TL38 | 30000_TL38 | N0FTHC039-TL | 6
SaitSolarLab_30000_TL388 | 30000_TL388 | GBT Total Generation kWh-TL | 25 |  | P1 | yes
SaitSolarLab_30000_TL39 | 30000_TL39 | N0FTHC038-TL | 6
SaitSolarLab_30000_TL4 | 30000_TL4 | GBT Ventilation consumption | 46 | HVAC Energy | P1 | yes
SaitSolarLab_30000_TL40 | 30000_TL40 | W2GRFT288-TL | 6
SaitSolarLab_30000_TL41 | 30000_TL41 | W2GRFT287-TL | 6
SaitSolarLab_30000_TL42 | 30000_TL42 | W2GRFT284-TL | 6
SaitSolarLab_30000_TL43 | 30000_TL43 | W2GRFT283-TL | 6
SaitSolarLab_30000_TL44 | 30000_TL44 | W2GRFT272-TL | 6
SaitSolarLab_30000_TL45 | 30000_TL45 | W2GRFT256-TL | 6
SaitSolarLab_30000_TL46 | 30000_TL46 | W2GRFT255-TL | 6
SaitSolarLab_30000_TL47 | 30000_TL47 | W2GRFT252-TL | 6
SaitSolarLab_30000_TL48 | 30000_TL48 | W2GRFT251-TL | 6
SaitSolarLab_30000_TL49 | 30000_TL49 | W2GRFT236-TL | 6
SaitSolarLab_30000_TL50 | 30000_TL50 | W2GRFT235-TL | 6
SaitSolarLab_30000_TL51 | 30000_TL51 | W2GRFT240-TL | 6
SaitSolarLab_30000_TL52 | 30000_TL52 | W2GRFT239-TL | 6
SaitSolarLab_30000_TL53 | 30000_TL53 | W1ETH075-TL | 6
SaitSolarLab_30000_TL54 | 30000_TL54 | W1ETH074-TL | 6
SaitSolarLab_30000_TL55 | 30000_TL55 | E0FTHC036 | 6
SaitSolarLab_30000_TL56 | 30000_TL56 | E0FTHC035 | 6
SaitSolarLab_30000_TL57 | 30000_TL57 | E0FTHC034 | 6
SaitSolarLab_30000_TL58 | 30000_TL58 | W1FTHC022-TL | 6
SaitSolarLab_30000_TL59 | 30000_TL59 | W1FTHC021-TL | 46
SaitSolarLab_30000_TL60 | 30000_TL60 | W1FTHC020-TL | 6
SaitSolarLab_30000_TL61 | 30000_TL61 | W1FTHC019-TL | 6
SaitSolarLab_30000_TL62 | 30000_TL62 | W1FTHC018-TL | 6
SaitSolarLab_30000_TL63 | 30000_TL63 | W1FTHC017-TL | 6
SaitSolarLab_30000_TL64 | 30000_TL64 | W1FTHC016-TL | 46
SaitSolarLab_30000_TL65 | 30000_TL65 | W1FTHC015-TL | 6
SaitSolarLab_30000_TL66 | 30000_TL66 | S0FTHC012-TL | 6
SaitSolarLab_30000_TL67 | 30000_TL67 | S0FTHC011-TL | 46
SaitSolarLab_30000_TL68 | 30000_TL68 | S0FTHC010-TL | 6
SaitSolarLab_30000_TL69 | 30000_TL69 | S0FTHC009-TL | 6
SaitSolarLab_30000_TL70 | 30000_TL70 | S1FTHC007-TL | 6
SaitSolarLab_30000_TL71 | 30000_TL71 | S1FTHC005-TL | 6
SaitSolarLab_30000_TL75 | 30000_TL75 | W1ETH071-TL | 6
SaitSolarLab_30000_TL77 | 30000_TL77 | E1MACA183B - TEST | 6
SaitSolarLab_30000_TL78 | 30000_TL78 | E1MACA183A | 46
SaitSolarLab_30000_TL79 | 30000_TL79 | N0FTH295-TL | 6
SaitSolarLab_30000_TL8 | 30000_TL8 | S2ETH300 | 6
SaitSolarLab_30000_TL82 | 30000_TL82 | N3ERTH076-TL | 6
SaitSolarLab_30000_TL83 | 30000_TL83 | N1ETH060-TL | 6
SaitSolarLab_30000_TL84 | 30000_TL84 | N1ETH059-TL | 6
SaitSolarLab_30000_TL85 | 30000_TL85 | N1ETH058B-TL | 6
SaitSolarLab_30000_TL86 | 30000_TL86 | N1ETH058A - Humidity Voltage Output-TL | 46
SaitSolarLab_30000_TL87 | 30000_TL87 | N1ETH057B-TL | 6
SaitSolarLab_30000_TL88 | 30000_TL88 | N1ETH057A-TL | 6
SaitSolarLab_30000_TL89 | 30000_TL89 | N1ETH056-TL | 6
SaitSolarLab_30000_TL9 | 30000_TL9 | S2ETH299 | 6
SaitSolarLab_30000_TL90 | 30000_TL90 | N1FTH042-TL | 6
SaitSolarLab_30000_TL91 | 30000_TL91 | E1ETH070 | 6
SaitSolarLab_30000_TL92 | 30000_TL92 | E1ETH069 | 6
SaitSolarLab_30000_TL93 | 30000_TL93 | E1ETH066 | 6
SaitSolarLab_30000_TL94 | 30000_TL94 | W1ETH071(Test) TL | 55
SaitSolarLab_30000_TL95 | 30000_TL95 | S0FTH055 | 46

## Selected DSM Sensors
Trend Column | Sensor Code | Display Name | Measurement Property | Category | Priority | Why selected | Dashboard feature | Units
SaitSolarLab_30000_TL212 | 30000_TL212 | GBT Appliances consumption | 55 | Appliances | P1 | Tracks appliance energy use | Energy Breakdown | Wh
SaitSolarLab_30000_TL210 | 30000_TL210 | GBT Domestic Hot Water consumption | 55 | DHW | P1 | Tracks hot water energy use | Energy Breakdown
SaitSolarLab_30000_TL3 | 30000_TL3 | GBT Total Generation | 55 | Energy | P1 | Tracks total building energy generation | Energy Breakdown | Wh
SaitSolarLab_30000_TL335 | 30000_TL335 | GBT Net Energy | 59 | Energy | P1 | Shows overall energy balance after generation and consumption | Energy Overview | W
SaitSolarLab_30000_TL342 | 30000_TL342 | GBT Site Consumption | 59 | Energy | P1 | Main building consumption used to detect demand peaks | Energy Overview | W
SaitSolarLab_30000_TL388 | 30000_TL388 | GBT Total Generation kWh-TL | 25 | Energy | P1 | Tracks total generation in kWh for reporting | Energy Overview | kWh
SaitSolarLab_30000_TL211 | 30000_TL211 | GBT Equipment/ R&D consumption | 55 | equipment | P1 | Tracks equipment and research load | Energy Overview | Wh
SaitSolarLab_30000_TL208 | 30000_TL208 | GBT Space heating/cooling consumption-TL | 55 | HVAC Energy | P1 | Major controllable HVAC load for DSM recommendations | Energy Breakdown | Wh
SaitSolarLab_30000_TL4 | 30000_TL4 | GBT Ventilation consumption | 46 | HVAC Energy | P1 | Tracks ventilation energy use | Energy Breakdown | cubic meters per hour
SaitSolarLab_30000_TL209 | 30000_TL209 | GBT Lighting consumption-TL | 55 | Lighting | P1 | Tracks lighting load and savings opportunities | Energy Breakdown | Wh
SaitSolarLab_30000_TL252 | 30000_TL252 | PV-CarportSolar_Total | 59 | Solar | P1 | Measures carport solar production | Solar generation | W
SaitSolarLab_30000_TL253 | 30000_TL253 | PV-RooftopSolar_Total | 59 | Solar | P1 | Measures rooftop solar production | Solar generation | W
SaitSolarLab_20000_TL92 | 20000_TL92 | HWS_Outside_Temp_POLL | 6 | Temperature | P1 | Helps compare outdoor temperature with energy demand | Weather / Environment | Celsius
SaitSolarLab_20016_TL5 | 20016_TL5 | CO2_Sensor | 44 | Air Quality | P2 | Supports occupancy and indoor air quality context | Environment Monitoring | PPM
SaitSolarLab_30000_TL213 | 30000_TL213 | Panel2A-1_TotalUsage | 59 | Electrical | P2 | Tracks electrical panel usage | Electrical Monitoring | W
SaitSolarLab_30000_TL343 | 30000_TL343 | GBT Mains PA | 59 | Electrical | P2 | Monitors mains phase A | Electrical Monitoring | W
SaitSolarLab_30000_TL344 | 30000_TL344 | GBT Mains PB | 59 | Electrical | P2 | Monitors mains phase B | Electrical Monitoring | W
SaitSolarLab_30000_TL345 | 30000_TL345 | GBT Mains PC | 59 | Electrical | P2 | Monitors mains phase C | Electrical Monitoring | W
SaitSolarLab_30000_TL207 | 30000_TL207 | AVG_CisternTemp-CCM | 6 | Temperature | P2 | Provides additional environmental/building system context | Environment Monitoring | Celsius